## Slide 1: Gas and Oil Leakage Detection System (GOLDS): Ensuring Safety, Environmental Protection, and Operational Integrity
JEGAN G - 210701521
RATHIDEVI J - 210701506
MONASHREE D - 210701165

## Slide 2: ABSTRACT 01

## Slide 3: ABSTRACT
The Gas and Oil Leakage Detection System (GOLDS) addresses the critical need for timely detection of leaks in oil and gas infrastructure. Using advanced sensors GOLDS provides accurate detection and rapid response to potential leaks. The system enhances operational efficiency and reduces maintenance costs through wireless sensor networks. Its scalability makes it suitable for various industrial applications, effectively safeguarding assets, protecting the environment, and ensuring regulatory compliance.

## Slide 4: EXISTING SYSTEM 02

## Slide 5: EXISTING SYSTEM
Existing systems for detecting gas and oil leakages typically rely on manual inspections, fixed sensors, and periodic maintenance checks. These conventional methods often suffer from delayed leak detection and limited coverage, leading to higher risks of undetected leaks, environmental damage, and safety hazards. Additionally, these systems lack real-time monitoring and advanced data analytics, resulting in less efficient risk management and increased operational costs.

## Slide 6: PROPOSED SYSTEM 03

## Slide 7: PROPOSED SYSTEM
The proposed Gas and Oil Leakage Detection System (GOLDS) leverages advanced sensors, and helps in accurate leak detection. GOLDS deploys wireless sensor networks for continuous data collection and analysis, enabling rapid response to potential leaks. This system enhances operational efficiency, reduces maintenance costs, and ensures scalability and adaptability for diverse industrial applications, thereby safeguarding assets, protecting the environment, and ensuring regulatory compliance.

## Slide 8: SYSTEM ARCHITECTURE 04

## Slide 9: SYSTEM ARCHITECTURE

## Slide 10: LIST OF MODULES 05

## Slide 11: LIST OF MODULES
SENSOR MODULE
DATA ACQUISTION MODEL
DATA TRANSMISSION MODULE
DATA ANALYTICS MODULE
ALERTING MODULE
USER INTERFACE MODULE

## Slide 12: FUNCTIONAL DESCRIPTION OF EACH MODULE 06

## Slide 13: DESCRIPTION OF MODULE
1.SENSOR MODULE
The Sensor Module is responsible for collecting data from various sensors deployed within the oil and gas infrastructure. This module includes sensors such as flowsensors, gas sensor(M2Q) which monitor critical parameters related to gas and oil flow rates.

## Slide 14: DESCRIPTION OF MODULE
2.DATA ACQUISTION MODULE
The Data Acquisition Module processes the raw sensor data collected by the Sensor. Module, converting it into digital format for further analysis. This module interfaces with the sensors and microcontrollers, ensuring reliable data transmission and synchronization.

## Slide 15: DESCRIPTION OF MODULE
3.DATA TRANSMISSION MODULE
The Data Transmission Module facilitates the transmission of processed sensor data to the central monitoring system or cloud-based server for analysis and storage. This module utilizes wireless communication protocols such as Wi-Fi, LoRaWAN, or GSM to transmit data over long distances, enabling remote monitoring capabilities

## Slide 16: DESCRIPTION OF MODULE
4.DATA ANALYTICS MODULE
The Data Analytics Module analyzes the transmitted sensor data in real time to detect anomalies indicative of potential gas and oil leakages. This module employs to identify deviations from normal operating conditions and trigger alert notifications.

## Slide 17: DESCRIPTION OF MODULE
5.ALERTING MODULE
The Alerting Module is responsible for generating and transmitting alert notifications to relevant stakeholders in the event of detected anomalies or potential leakages. This module supports various notification channels, such as emergency calls ensuring timely response measures.

## Slide 18: DESCRIPTION OF MODULE
6.USER MODULE
The User Interface Module provides a graphical user interface (GUI) for stakeholders to visualize sensor data. This module helps in decision-making.

## Slide 19: IMPLEMENTATION 07

## Slide 20: GAS LEAK DETECTION

## Slide 21: OIL LEAK DETECTION

## Slide 22: CONCLUSION 07

## Slide 23: CONCLUSION
The Gas and Oil Leakage Detection System (GOLDS) is a significant advancement in oil and gas infrastructure monitoring, offering a proactive and reliable solution for detecting and mitigating gas and oil leakages. Through IoT integration, advanced sensors, and real-time monitoring, GOLDS ensures robust functionality, accuracy, and scalability. Its rapid response times, remote monitoring capabilities, and scalability enhance risk management and operational efficiency. GOLDS improves safety, protects the environment, and supports regulatory compliance, contributing to a sustainable energy future. Continued refinement will further enhance its capabilities, solidifying its role as an indispensable tool for ensuring operational integrity and environmental stewardship in the oil and gas sector.

## Slide 24: THANK YOU